### UNDERGROUND STORAGE TANK PROGRAM

#### UST REMOVAL INSPECTION AND CERTIFICATE

Facility Name: _____________________________   Address: __________________________________

Date of Removal: ___________________________   Inspector: _________________________________

| State ID No. | Size (gallons) | Contents | Inspection Comments |
| --- | --- | --- | --- |

##### Inspection Checklist

(   ) Permit application, removal plan, fees, etc. on file, accurate and acceptable

(  ) Minimum of (2) fire extinguishers with rating 20 BC within 50 feet on job site

(  ) ‘No Smoking’ signs posted at job site

(  ) All employees wearing proper protective equipment including hard hats, boots, gloves, etc.

(  ) Contractor Site and Safety Plan on job site

(  ) Piping rinsed back to tank

(  ) Tank triple rinsed

(  ) Liquid product removed from tanks

(  ) Piping disconnected

(  ) Approved hazardous waste hauler on-site

(  ) Vapors purged and readings taken with properly calibrated combustible gas meter

Tank #		Tank #			Tank #			Tank #

|  | O2 | LEL |  | O2 | LEL |  | O2 | LEL |  | O2 | LEL |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Top |  |  |  |  |  |  |  |  |  |  |  |
| Middle |  |  |  |  |  |  |  |  |  |  |  |
| Bottom |  |  |  |  |  |  |  |  |  |  |  |

(  ) Tanks examined for corrosion and perforations

(  ) Approved independent third-party sampler present

(  ) Soil/water samples taken to detect possible releases

(  ) Soil/water sample transport, analysis, procedure and method approved

##### Use When Unauthorized Release Suspected or Observed

(  ) Unauthorized leak report (UAR) filed with Yolo County Environmental Health

(  ) Further site investigation to confirm extent of contamination is required

(  ) Clean-up actions completed and acceptable.

(  ) No further work required

(  ) No Further Action letter issued

##### Supplemental Inspection Notes

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

###### CERTIFICATE OF SATISFACTORY COMPLETION

This statement, when signed by an authorized representative of Yolo County Environmental Health certifies that the Underground Storage Tank(s) listed above have been properly removed in accordance with Yolo County and California State Regulations and Law.

Any investigation of leaks or releases from these tanks will not be considered initiated, approved, or completed by this document.

Tank No.: ____  ____  ____  ____	Authorized Signature: _______________________________

____  ____  ____  ____

____  ____  ____  ____

____  ____  ____  ____	Date Signed: ______________________________________

###### NO FURTHER ACTION REQUIRED

By signing below Yolo County declares that based on analytical data from soil and/or groundwater taken at this site that there is No Further Action required at this site at this time.

This shall not constitute or be construed as a satisfaction or release from liability for any conditions or claims arising as a result of past, current, or future operations at this location. Nothing in the determination is intended or shall be construed to limit the rights of any parties with respect to claims arising out of or relating to deposit or disposal at any other location of substances removed from the site. Nothing in the determination is intended or shall be construed to limit or preclude the board or any other agency from taking any further enforcement action.

This does not relieve the property or tank owner of any responsibilities mandated under the California Health and Safety Code and California Water Code if existing, additional, or previously unidentified contamination at the site causes or threatens to cause pollution or nuisance or is found to pose a threat to public health or water quality. Changes in land use may require further assessment and mitigation.

Signed: _____________________________________________    Date Signed: _________________________