### UNDERGROUND STORAGE TANK PROGRAM

#### AUTHORITY TO REMOVE UNDERGROUND STORAGE TANKS

Attached is a UST Authority to Remove Underground Storage Tanks Application packet. In order to move forward with this project, please submit the following documents to Yolo County Environmental Health. Please note that additional documents may also be required by Yolo County on a site-by-site basis. The plan check process cannot begin until this office has received all items listed below. Please allow up to fourteen days for the plan check process.

# TANK REMOVAL

- Business Activities Facility Information Page

- Business Owner/Operator Identification Facility Information Page

- Authority to Remove Underground Storage Tanks Application (4pgs.) including workplan

- Site Map

- UST – Facility form (formerly SWRCB Form A)

- UST – Tank form pages 1 & 2 (formerly SWRCB Form B) – complete one for EACH tank

- UST – Cutting and Cleaning Disclaimer

- Copy of Contractors license with Hazardous Materials endorsement

- State certification for laboratory to be used for soil sample analysis

##### TANK CLOSURE (Abandonment) IN PLACE – APPROVED ONLY ON A CASE-BY-CASE REVIEW!

- Business Activities Facility Information Page

- Business Owner/Operator Identification Facility Information Page

- Signed copy of Underground Storage Tank Abandonment Requirements

- Work plan to include items requested in Underground Storage Tank Abandonment Req.

- Applicable sections of Authority to Remove Underground Storage Tanks Application

- Letter from a professional engineer stating that removal will impact existing buildings

- UST – Facility form (formerly SWRCB Form A)

- UST – Tank form pages 1 & 2 (formerly SWRCB Form B) – complete one for EACH tank

- Copy of Contractors license with Hazardous Materials endorsement

- State certification for laboratory to be used for soil sample analysis

##### TEMPORARY TANK CLOSURE

- Business Activities Facility Information Page

- Business Owner/Operator Identification Facility Information Page

- Authority to Remove Underground Storage Tanks Application

- Signed copy of Underground Storage Tank Temporary Abandonment Requirements

- UST – Facility form (formerly SWRCB Form A)

- UST – Tank form pages 1 & 2 (formerly SWRCB Form B) – complete one for EACH tank

Your contractor should be familiar with the process of underground storage tank removal and should be able to assist you in completing the necessary forms. Should you need additional help please contact any Yolo County Hazardous Materials Specialist at (530) 666-8646.

Please call the Yolo County Environmental Health Department for the most current fee schedule. All fees must be paid in full before any underground storage tank can be abandoned. Make checks payable to: Yolo County Environmental Health Department.

Please note that an inspection appointment is required for all underground storage tank removals and/or abandonment. Appointments must be made a minimum of 48 hours in advance. No tank removal will take place without a Yolo County Environmental Health representative present. This department reserves the right to stop the tank removal project at any time for not complying with the Yolo County Underground Storage Tank Policy, Tank System Cutting and Cleaning Policy and State Regulations.

Application packets and fees can be delivered to:

Yolo County Environmental Health

292 West Beamer St.

Woodland, CA 95695

(530) 666-8646