###### Date Received: __________

Fee Paid: ______________

Facility #: ______________

SR#:___________________

### UNDERGROUND STORAGE TANK PROGRAM

INSTALLATION/MODIFICATION/REPAIR APPLICATION

#### Facility Name: ________________________________________________________________________

Facility Address: ___________________________________     City: _____________________  Zip: __________________

Owner Name: _____________________________________     Owner Phone: ____________________________________

Owner Address: ____________________________________    City: _____________________  Zip: __________________

Contractor: ________________________________________    Company Name:__________________________________

State License: ____________________________________       Classifications: ___________________________________

Address: __________________________________________    City: _____________________  Zip: __________________

Project Manager: ___________________________________     Telephone: ______________________________________

 New Installation		 Upgrade w/ piping		 Upgrade no piping		 Repair

- This application is for a permit to install/modify/repair underground storage tank components issued by the Yolo County Environmental Health Department (CUPA). Other permits may be needed before you can begin work. Please check with other local agencies for permitting requirements.

- All installation permits issued are good for 1 year from the date issued. Repair and modification permits are good for 6 months from the date issued.

- This application will not be reviewed until all necessary documents and fees have been submitted. Please see cover sheet to this packet for further information.

##### OWNER/CONTRACTOR ACKNOWLEDGEMENT

I declare that to the best of my knowledge that the statements and information provided are correct and true. I understand that information, in addition to that provided in this application, may be needed to obtain a permit from the Yolo County Environmental Health Department and that no work is to begin on any portion of the UST system or the UST leak detection system until the Authority to Construct Letter (permit) is issued.

I understand that any changes in design, materials, or equipment will VOID my authority to construct permit if prior approval is not obtained from Yolo County Environmental Health.

I understand that any inspection appointments must be established with the YCEH Department as least two working days (48 hours) in advance.

Tank Owners Signature: __________________________________________________   Date: _________________

Printed Name: _________________________________________        Title: _______________________________

Contractors Signature: ___________________________________________________    Date: _________________

Printed Name: _________________________________________        Title:  _______________________________

SCOPE OF WORK TO BE COMPLETED

- This document shall be completed & submitted to YCEHD along with site-specific drawings and supporting forms.

- In the table below, check the box for any component that will be installed, replaced, or modified. List the manufacturer name and specific model number for each piece of new equipment. If an item is not applicable to this project, check the ‘N/A’ box.

- If all tanks at a facility will not use the same equipment (make/model), please complete this sheet for each tank.

- Each item marked yes must be depicted in the site-specific drawings.

| Agency Use | Equipment | Included in work to be done | Name of Equipment Manufacturer | Model Number |
| --- | --- | --- | --- | --- |
|  | Tank(s) |  Yes  No |  N/A |  |
|  | Primary Product Pipe |  Yes  No |  N/A |  |
|  | Secondary Product Pipe |  Yes  No |  N/A |  |
|  | Primary Vapor Return Pipe |  Yes  No |  N/A |  |
|  | Secondary Vapor Return Pipe |  Yes  No |  N/A |  |
|  | Primary Vent Pipe |  Yes  No |  N/A |  |
|  | Secondary Vent Pipe |  Yes  No |  N/A |  |
|  | Product Sumps, tophats, and tophat lids |  Yes  No |  N/A |  |
|  | Fill Sumps, tophats, and tophat lids |  Yes  No |  N/A |  |
|  | Manway lids for sumps |  Yes  No |  N/A |  |
|  | Under Dispenser Containment |  Yes  No |  N/A |  |
|  | Leak Detection Console |  Yes  No |  N/A |  |
|  | Tank Interstitial Space Sensor |  Yes  No |  N/A |  |
|  | Product Sump Sensor |  Yes  No |  N/A |  |
|  | Fill Sump Sensor |  Yes  No |  N/A |  |
|  | UDC Hydrostatic Sensors |  Yes  No |  N/A |  |
|  | Sump Hydrostatic Sensors |  Yes  No |  N/A |  |
|  | UDC Liquid Sensor or Float |  Yes  No |  N/A |  |
|  | SMART Sensors |  Yes  No |  N/A |  |
|  | Vacuum Sensors |  Yes  No |  N/A |  |
|  | Vacuum Sensors (addt’l) |  Yes  No |  N/A |  |
|  | In-Tank Probe (e.g. ATG) |  Yes  No |  N/A |  |
|  | External Overfill Alarm |  Yes  No |  N/A |  |
|  | Drop Tube or Drop Tube with Overfill Device |  Yes  No |  N/A |  |
|  | Ball Float Valves |  Yes  No |  N/A |  |
|  | Dispensers |  Yes  No |  N/A |  |
|  | Flex Connectors |  Yes  No |  N/A |  |
|  | Flex Connector Boots |  Yes  No |  N/A |  |
|  | Vent Transition Containment Sump |  Yes  No |  N/A |  |
|  | Line Leak Detectors |  Yes  No |  N/A |  |
|  | Penetration Fittings |  Yes  No |  N/A |  |
|  | Shear Valves |  Yes  No |  N/A |  |
|  | Spill Containment Structures |  Yes  No |  N/A |  |
|  | Test and Reducer Boots |  Yes  No |  N/A |  |
|  | Turbines |  Yes  No |  N/A |  |
|  | Vent Caps |  Yes  No |  N/A |  |
|  | Remote Fill Primary Pipe |  Yes  No |  N/A |  |
|  | Remote Fill Secondary Pipe |  Yes  No |  N/A |  |
|  | Low Point or Transition Sump |  Yes  No |  N/A |  |
|  | Other |  Yes  No |  N/A |  |

I) GENERAL INFORMATION: ALL APPLICANTS

Reason for upgrade or repair:

 Upgrade or repair to meet current state/federal requirements

 Piping system failure

 Other, describe briefly: _______________________________________________________________________

__________________________________________________________

Estimated Start Date: ______________________		Estimated Completion: ________________________

Distance of  UST(s) from nearest well: ________		Depth to groundwater (if known): _______________

Type of system

 Single-walled tanks	 Double-walled tanks

 Pressure	 Suction	 Safe Suction	 Gravity Flow	 Emergency Generator

Scope of work (Briefly describe components that will be installed, modified, or replaced):

__________________________________________________________

__________________________________________________________

__________________________________________________________

__________________________________________________________

Other agencies notified/permits taken out:			__________________________________________

__________________________________			__________________________________________

### UNDERGROUND STORAGE TANK PROGRAM

#### Blueprints and Parts List Requirements

**This list is not intended to be all-inclusive, it is meant to act as a guide for what should be included in drawings submitted to Yolo County Environmental Health. A parts list is to be included on the drawings and should include make & model number and correspond to side view or end view drawings by number or letter.

Overhead View of Site (Drawn to scale and to include all of following that apply):

____	North arrow

____	Scale of drawing

____  	Closest landmarks (e.g. buildings, streets, etc)

____	Bollards or guard posts

____  	Dispenser islands

____	Tanks

____	Tank excavation

____	All piping that will contain product (supply & return)

____	Vapor recovery piping

____	Vent piping & termination

____	Buildings

____	Location of leak detection/monitoring panel

____	Location of Emergency Shutoff

____	Location of any proposed or existing wells (observation, monitor, etc.)

____	Location of overfill alarm

____	Indicate slope on piping toward tank (must be minimum of 1/8 inch per foot)

____	Tank vent termination

##### Side view of all that apply to scope of work

###### End View of Pipe Trench

____	Type of piping (i.e., rigid FRP, Enviroflex, etc.)

____	Piping trenches showing distances between pipes, from pipes to bottom of trench, pipes to side of trench, pipes to surface. Also include backfill material and type/thickness of cap over trench. Must be a minimum of twice the piping diameter between lines and a minimum of 6 inches between side of trench and pipe on each side.

Side View of Pipe Transitions and Penetrations

____	Penetration of underground piping into basement or to ground surface – Include the pipe or collar that provides a conduit for the double wall pipe

____	Underground caps, plugs & sealants (to make penetration watertight)

____	Termination assembly – Include termination plug, seals & test donuts, as well as termination of secondary underground piping & test boots/end boots

____ 	Transition from flexible or fiberglass piping to above ground piping – Include protection from sunlight & elements, as well as construction of above ground piping

____	Transition sumps, containment boxes, sensors and ball valves (if any)

Side View of Sumps

____	Method of attachment of sump to tank

____	Penetration in sumps (boots, flanges, fittings)

____	Piping as it goes through penetrations

____	Termination of secondary walls of pipe in sump

____	Location of test boots

____	All piping & connections inside sump

____	All other equipment inside sump

____	Sump sensor

____	Spill containment buckets

____	Lids to manways

____	Type & depth of fill materials, and cap

____	Line Leak Detector

SUMP INSTALLATION INCLUDE A BLOWUP DRAWING ENCOMPASSING:

____	Manway Lid

____	Manway Skirt

____	Sump

____	Sump Lid

____	Spill Buckets

____	Sump Top Hat

____	Interface between the manway skirt and sump top hat

____	Interface or connection between spill buckets

Side View of Under Dispenser Containment

____	Penetrations into pans (depict type of penetration fitting)

____	All piping & conduits as they go through penetrations

____	Termination of secondary walls of pipe inside under dispenser containment

____	Shear valves

____	Attachment of pipes, etc to pan infrastructure

____	Floats or sensors

____	Type of UDC (Bravo, FRP, shallow, deep, etc.)

____	Any other equipment inside UDC

____	Flex connectors and boots

Side View of Tank & Excavation

____	Size of tank in gallons

____	Dimensions of excavation & tank

____ 	Distance from ends & sides of tank(s) to sidewalls of excavation

____	Depth of backfill beneath tanks & above tanks

____	Type & thickness of cap above tank

____	Sumps

____	Spill buckets & lids

____ 	All other sumps or bungs on tank

____	Risers

____	Location of ATG (Tank level monitor)

____	Turbines

____	Compartments in tank

____	Drop tube

____	Overfill prevention devices

____	Any slabs or deadmen with location and type of tie down straps

____	Level or slope of tank

____	Any other equipment

____	Any other items in close proximity to UST (e.g., monitoring wells, etc)

____	Location of interstitial monitor

____	Certification by a registered engineer that groundwater conditions do not warrant additional engineering to counteract tank buoyancy (Alternative: Attach buoyancy calculations stamped by a registered engineer based upon the assumption that each tank lies completely submerged)