### UNDERGROUND STORAGE TANK PROGRAM

## AUTHORITY TO REMOVE UNDERGROUND STORAGE TANKS APPLICATION

#### Facility Name: _________________________________________________________________________

Facility Address: _______________________________    City: _____________________  Zip: _________

Owner Name: ________________________________     Owner Phone: ___________________________

Owner Address: ________________________________   City: _____________________  Zip: _________

Contractor: ___________________________________    Company :______________________________

State License: ________________________________     Classifications: __________________________

Address: _____________________________________    City: _____________________  Zip: _________

Project Manager: ___________________________________     Telephone: ________________________

- This application is for a permit to remove underground storage tank components issued by the Yolo County Environmental Health Division (CUPA). Other permits may be needed before you can begin work. Please check with other local agencies for permitting requirements.

- All removal permits issued are good for 90 days from the date issued, temporary abandonment permits are good for 15 days from the date issued.

- This application will not be reviewed until all necessary documents and fees have been submitted. Please see cover sheet to this packet for further information.

##### OWNER/CONTRACTOR ACKNOWLEDGEMENT

I declare that to the best of my knowledge the statements and information provided are correct and true. I understand that information, in addition to that provided in this application, may be needed to obtain a permit from the Yolo County Environmental Health Division and that no work is to begin until the Authority to Remove Underground Storage Tanks Letter (permit) is issued.

I understand that any inspection appointments must be established with the YCEH Division as least two working days (48 hours) in advance.

Tank Owners Signature: __________________________________________________   Date: _________________

Printed Name: _________________________________________        Title: _______________________________

Contractors Signature: ___________________________________________________    Date: _________________

Printed Name: _________________________________________        Title:  _______________________________

Date Rec’vd: _________________

Rec’vd By:  __________________

Fee Paid: ____________________

Approved: _______	Denied: ________    Date: ________

Authorized Signature: _________________________________

## UNDERGROUND STORAGE TANK REMOVAL PLAN

I. TANKS

| Tank # | Contents | Capacity | Construction Material | Year Installed |
| --- | --- | --- | --- | --- |

II. CLEANING AND INERTING TANKS

Describe the procedures to be followed to remove residual materials and inert the tank. Identify methods for removing materials, containerizing residual materials and degassing the tank prior to removal. The contractor will use a minimum of 25 pounds of dry ice per 1000 gallons of tank volume. For tank cleaning, the contractor will use a minimum of 5 gallons of mixed rinsate per 1000 gallons of tank capacity to clean the tank system.

_____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Residual material from the tanks, and cleaned underground storage tanks and piping shall be transported by a hazardous waste manifest. Please list the disposal facility to where these wastes will be transported.

Rinsate TSD Name: _____________________________________    EPA ID#: ___________________

Address: _______________________________________________    Telephone: __________________

Responsibilities:____________________________________________________________________________________________________________________________________________________________

Un-rinsed Tanks and Piping

Tank & Piping TSD Name: _________________________________   EPA ID#: _________________

Address: __________________________________________________  Telephone: ________________

Responsibilities:____________________________________________________________________________________________________________________________________________________________

Cleaned & Cut Tanks & Piping

Tank & Piping Disposal Site: ___________________________________________________________

Address: ___________________________________________________   Telephone: ______________

Nature of Business : __________________________________________________________________________________________________________________________________________________________________________

III. SOIL SAMPLING PROTOCOL

The owner or his agent shall be responsible for contracting with an independent qualified third party to collect soil samples from the tank excavation at the time of the tank removal. The owner or his agent shall have the samples analyzed at a State approved analytical laboratory for tank product constituents as required by Yolo County Environmental Health. Clean brass, stainless steel, or Teflon tubes shall be used to take soil samples. Glass containers shall be used to take water samples. Yolo County Environmental Health shall approve other sampling arrangements in advance on a case-by-case basis. Soil sampling shall be on site at the time of tank removal. Refer to the Tri-Regional Board recommendations attached to this application for a description of field analysis requirements.

SAMPLING REQUIREMENTS FOR ROUTINE TANK REMOVALS WITHOUT WATER IN TANK PIT

- Remove up to two feet of native soil before sampling

- If areas of obvious contamination are observed they are also to be sampled

- A sample should also be taken from the soil stockpile

- Yolo County Environmental Health representatives may require additional samples to be taken as they see necessary. Please be prepared for this possibility.

| Tank Size | Minimum # of Samples | Location of Soil Samples |
| --- | --- | --- |
| Less than 1,000 gallons | ONE per tank | Fill or pump end of tank |
| 1,000-10,000 gallons | TWO per tank | One at each end of tank |
| Greater than 10,000 gallons | THREE or more per tank | Each end and the middle generally spaced along length of the tank |
| Piping | ONE | Every 20 lineal feet |
| Dispensers | ONE | Under each dispenser |

| Stockpile Size | Minimum # of Samples | Location of Soil Samples |
| --- | --- | --- |
| 25 cubic yards | ONE | One 2-part composite (composite in lab) for every 25 cubic yards of soil stockpile |

SAMPLING REQUIREMENTS FOR ROUTINE TANK REMOVALS WITH WATER PRESENT IN TANK PIT

- The tank pit may be purged and allowed to refill before sampling. The purged water is to be handled correctly.

- The water sample is to be representative of the water in the tank pit.

- A sample should also be taken from the soil stockpile

- Yolo County Environmental Health representatives may require additional samples to be taken as they see necessary. Please be prepared for this possibility.

| Tank Size | Minimum # of Soil Samples | Location of Soil Samples | Minimum # of Water Samples |
| --- | --- | --- | --- |
| <10,000 gallons | TWO | Tank ends at soil/water interface | ONE |
| >10,000 gallons or tank cluster | FOUR | Same as above | ONE |

Identify who will perform soil sampling:

Person/Company Name: _________________________________	Phone Number: ____________

Address: _____________________________________________________________________________

Identify analytical laboratory:

Laboratory: ___________________________________________  Phone Number:________________

Address: __________________________________________ ELAP Certification #: _________

SOIL SAMPLE ANALYSIS, QUALITY CONTROL DATA, SAMPLING PLOT MAP, AND CHAIN OF CUSTODY SHALL BE DELIEVERED TO COUNTY HEALTH WITHIN 30 DAYS OF SAMPLING.

IV. ADDITIONAL REQUIREMENTS AND LIMITATIONS

Please initial and date each line. Issuance of Authority to Remove is subject to compliance with the requirements listed below, approval by field inspection, and adherence to testing protocols. The following is based on applicable sections of the Uniform Fire Code, the California Code of Regulations, and the California Health and Safety Code. All requirements must be observed.

_____	1	Provide a minimum of 2 fire extinguishers with a minimum class rating of 20BC

within 50 feet of the removal operation.

_____	2	There shall be NO SMOKING on the job site, and “No Smoking” signs shall be

posted. There shall also be no welding or other ignition sources in the area during

the removal operation.

_____	3	The contractor will provide a copy of his or her site health and safety plan to the

representative of Yolo County Environmental Health and will ensure that all

employees are wearing the proper protective equipment including hard hats and

boots.

_____	4	Remove all flammable liquid from the tank using the system pumps and a hand

pump or other device to remove any remaining product. Remove all flammable liquids from the system piping, including the foot valve risers on suction systems. Avoid spilling product into the tank and piping excavation.

_____	5	All tanks shall be triple rinsed to remove residual sludge and debris. The rinsate

shall be collected, handled, transported, and disposed of pursuant to applicable sections of Division 20, Chapter 6.5 of the Health and Safety Code.

_____	6	After triple rinsing, all tanks shall be temporarily purged of flammable vapors

with solid carbon dioxide (“dry ice”) at a ratio of 25 pounds of dry ice per 1,000 gallons of tank volume. Dry ice shall be deposited in all appropriate tank openings at least  1 ½ hours prior to tank removal to insure sufficient purging and venting. Only dry ice shall be used to purge vapors for preparing tanks prior to off-site transport.

_____	7	The contractor will plug or cap all holes. The contractor will install one cap or

plug with a hole of 1/8 of an inch diameter. These plugs shall remain in place

during tank transport.

_____	8	Immediately prior to tank removal the lower explosive limit (LEL) and oxygen

levels (O2) inside the tank shall be measured with a metering device designed and calibrated to accurately assess those indicators. The contractor will make the measurements at the top, middle, and bottom of the tank(s). The measurement shall be witnessed by the on-site local agency representative. The contractor will inert or degas the tank to either of the following standards:

- the concentration of flammable vapor will not exceed 18 percent of the lower explosive limit of the hazardous material or waste in the tank

OR

- the oxygen concentration will not exceed 5 percent (5% O2)

_____	9	YOLO COUNTY DOES NOT ENDORSE ONSITE TANK CUTTING AND

CLEANING! Should the contractor decide to cut and clean the tank(s) on-site the Yolo County tank cutting and removal policy must be strictly adhered to. A written proposal for on-site cutting must be submitted to this Division and the local fire protection district prior to any cutting. The contractor is responsible for coordinating the approval process. No “hot cutting” shall be allowed under any circumstances.

_____	10	All excavated soil shall be stock piled on impervious material directly adjacent to

or in the immediate vicinity of the tank excavation. All soil appearing to be contaminated must be covered with a material impervious to inclement weather, and shall be handled, transported, and disposed of pursuant to applicable sections of the Health and Safety Code.

_____	11	If the excavation is not immediately filled in, a secure fence must be installed

around its perimeter.

_____	12	The contractor will mark each tank with the State Identification Number with

letters and numbers that are legible from a distance.

_____	13	After removal the following information must be submitted to Yolo County

Environmental Health within 30 days: copies of laboratory analyses, chain of custody documents, hazardous waste manifests, the State Tank Closure Certificate, & final disposal documentation of all waste.